## Data Garthering Matrix
Manurfacture | Grant
Model | The ecoNet "Smart Controller" built around the Arona 290
In Built / 3rd Party Controller | In built
Meta Data
Resourses
Who is answering these questions? | Renewables Development Manager at Grant Engineering
When are they answering these questions? | 2026-02-19
How are they answering these questions? | Teams call
Variables
What variables are collected?
Are any variables not stored/treated differently? | A wide range of settings can be viewed via the web front end or via the screen in home. A subset of these variables can be altered remotely (specifically water and temperature set point), although no record is kept of these changes.
Where is Data Stored? | Currenlty stored locally by Grant, although they are migrating to a cloud provider.
What time resolutoin are variables stored at? | Dashboard refreshed reguarly during a demo, suggesting 1-5 minute time resolution.
Connectivity
How is connectivity with the home achieved? | WiFi is currently used to connect the gateway to the internet. The gateway connects to the heat pump using CAT5 via the wiring centre.
Does the gateway require a dedicated power supply? | Yes
Is there a sim card slot | The unit has a SIM card slot although at the moment this isn't used.
Is there a home interface beyond app? | Yes, a touch screen in-home thermostat is available, through which settings can be changed.
Is it collected automatically? | Once connected to ecoNet 24 data is stored within ecoNet, this data relates to items that were set up during commissioning (for example, Circuit (zone) 2 with Room thermostat), it can store both the room temperature and water temperature if the sensor is installed.
Can error codes be viewed? | Yes, a set page on the dashboard lists errors and warnings.
Can error codes be cleared remotely? | Yes, some of these codes can be cleared remotely.
Email notifications? | The customer can choose whether or not to receive email notifications for Errors, currently all errors will be notified – the user cannot select which types to be notified about.
Maintenance
Is data used for Heat Pump maintenance? If so, is that proactive or reactive? | Yes, maintence engineers currently has access to the data via an app when they attend site to inspect a heat pump, although this is currently done at a realitively small scale (<10 houses).
Home Owner Data Access
How do home owners access the data? | Via the in home thermostat. They are not expected to have access to the web interface or the app.
Does the system have an in house control unit, or is everything done through an app? | Yes, everything that can be done via the app can also be done via the in-home touch screen unit.
Are there photos of the interface? | Yes, see reseources.
Is there a demo/test bed interface we can play with? | There is a Smart Control Emulator, this however does not include ecoNet 24
Can home owners access/control everything given in the "Variables Matrix"? | Home Owners can access all Room Temperature / Hot water adjustments, Scheduling, and general User parameters such as setting time and data, display brightness etc. However, service level parameters (Flow temperature targets and such) are hidden in a Service Menu which you access via a 4 digit ‘code’. These ‘codes’ are set and cannot be changed. Home Owners have the same access online/on the control. However, where the property is not owned by the occupier, the login information for the system would sit with the Property owner.
What is the cost of hardware and licence for each level of admin, user etc? | The service is free of charge and provided with the heat pump. It is still advisable however to check that remote assistance is included when specifing the heat pump. They do not yet know what the costs will be for data when the SIM card option becomes available.
Do they record changes that are made to the system, i.e. a log any system alerations with commments as to why they were made. | No.
Land Lord Data Access
Is there a process for setting up data sharing? | Housing providers they have worked with created their own "GDPR form" which obtained permission from the tenant for the housing provider to obtain access to the tenants data. Tenants also fill in a form as part of the remote assistance commissioning process.
Who is it currently shared with? Who are they pushing data to? | They currently share data with a housing provider, who also provides the maintence in house. They do not currently share data with any third party maintainers. They do not share data with any third party 'smart thermostat' providers.
Any sharing with Local Authroties, or any planned in the future? | Yes, one local authority currently recieves data from them. They are continuing to work with this local authority to increase the number of connected heatpumps in the fleat.
Have they had other requests for sharing?
Is there an institue login? | Different user levels include: End User, which providers system visibibility and is the level that social landlords would use to access the data. Installer, which provides more technical information. There is no user level for tenants, as they are expected to acces the data the in-house device.
Are their APIs that can be used? | No
Are there tempalte Data Sharing Agreements they can share? | No, as this has been produced by the social housing partner.
Home Owner Privacy
Does it require an opti-in by participents? | Tenants have to sign up as part of their tenance agreement.
Does the privacy notice mention third party (specifically landlord) access to the data? | No, the local authority has a separate agreement.
Do they have a template privacy notice that they can share? | No
3rd Party Controller Specific Questions
Which manurfactures can this work with? | No 3rd party 'smart thermostat' functionality is currently available, and none is provided in house.

## Variables Matrix
Manurfacture | Grant
Variables Measured
Heating
Flow temperature | y
Return temperature | y
Heat Flow Temperature Minimum Setpoint | y
Heating Curve | y
Heating Status | y
Heating Operation Mode | y
Room Temperature | y
Room Temperature Setpoint | y
Set back temperature | y
Outside Temperature Heating-Off Threshold | y
Flow Rates | y
Hot Water
DHW Temperature | y
DHW Temperature Setpoint | y
DHW Status | y
DHW Operation Mode | y
DHW Tank Hysteresis | n
Energy
Energy Consumed Total | y (alhtough did not appear to be visible on the screen I was shown)
Energy Produced Total | n
Energy Consumed DHW | n
Energy Produced DHW | n
Energy Consumed Heating | n
Energy Produced Heating | n
Combined SCOP | n
Other
Outdoor Temperature | y
Pump 1 Active | y
Water pressure | y (R290)
Refrigerant graphs | No refrigerant Graphs are stored, although live working gas pressures and temperatures can be viewed.
Heating System Controls Provided
Heating Operation Mode | y
Room Temperature Setpoint | y
Heating Curve | y
Min flow temperature setpoint | y
DHW Operation Mode | y
DHW Temperature Setpoint | y
DHW Tank Hysteresis | y
Outside Temperature Heating-Off Threshold | y
Admin Function
Fault Notification History | y
Note on A14: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This is given in the Vallient List, although it's not 100% clear what that means... is it the amount of water flowing?